SEA-BIRD ELECTRONICS, INC.

1808 136th Place N.E., Bellevue,   Washington 98005  USA

Phone: (425) 643 - 9866 Fax: (425) 643 - 9954     Internet: seabird@seabird.com

SENSOR SERIAL NUMBER = 0169                      SBE 38  TEMPERATURE CALIBRATION DATA

CALIBRATION DATE: 28-Feb-03s                         ITS-90 TEMPERATURE SCALE

SBE 38   COEFFICIENTS

a0 =   -3.884467e-05

a1 =    2.801349e-04

a2 =   -2.674289e-06

a3 =    1.684452e-07

New Initial Rec’d CALIBRATION